

## Reference Buildings





IECC Climate Zone Number: 4

IECC Moisture Regime: Dry(B)

Selected reference buildings: RefBldgMediumOfficePost1980\_v1.4\_7.2\_4B\_USA\_NM\_ALBUQUERQUE.idf

## Raw EPW

|  |  |
| --- | --- |
| **Location** | **Elevation (above sea level)** |
| Monoprix Building | 488 ft = 146 m |
| FRA Montpellier | 6 m |
| FRA Bordeaux✅ | 61 m |

## Only-EP

(idf, EPW)

|  |  |  |  |
| --- | --- | --- | --- |
|  | MidRiseApart | SmallOffice\_Residential | MediumOffice |
| Wall |  |  | Perimeter\_bot\_ZN\_1\_Wall\_South  Perimeter\_mid\_ZN\_1\_Wall\_South  Perimeter\_top\_ZN\_1\_Wall\_South  Perimeter\_bot\_ZN\_3\_Wall\_North  Perimeter\_mid\_ZN\_3\_Wall\_North  Perimeter\_top\_ZN\_3\_Wall\_North |
| Roof |  |  | Building\_Roof |
| Floor |  |  | Perimeter\_bot\_ZN\_1\_Floor  Perimeter\_bot\_ZN\_2\_Floor  Perimeter\_bot\_ZN\_3\_Floor  Perimeter\_bot\_ZN\_4\_Floor  Core\_bot\_ZN\_5\_Floor |
| Heating |  |  |  |
| Cooling |  |  |  |

Only-VCWG

(idf, EPW, + uwg)